510

Software

Aim

Microscope

Axioskop2 FS Mot

Lasers

Argon/2: 458, 477, 488, 514

DPSS 561-10: 561

HeNe633: 633

Dichroics

NT 80/20

HFT 488/561/633

HFT KP 700/488

HFT KP 700/561

HFT 458/514

HFT 458/561/633

HFT 488/561

HFT 650

Emission Filters – LSM (descanned) detector

LP 505

BP 510/20 IR

BP 500-550 IR

BP 535-590 IR

BP 575-615 IR

BP 650-710 IR

KP 685

BP 390-465 IR

BP 435-485 IR

BP 480-520 IR

BP 500-530 IR

BP 500-550 IR

Emission Filters – nondescanned detector

BP 510/80; BP605/70

BP455-495; BP515-565

Objectives

5x air (.15)

10x air (.3)

20x air (.8)

25x multi-immersion (.8)

40x oil (1.3)

63x oil (1.4)

100x oil

40x water

63x water

Other

X-Y motorized stage

710

Software

Zen

Microscope

AxioExaminer

Lasers

Argon: 458/488/514

HeNe: 543

HeNe: 633

Dichroics

MBS 458

MBS 458/514

MBS 458/543

MBS 488

MBS 488/543

MBS 488/543/633

MBS T80/R20

Emissions Filters – nondescanned detector

BP565-610; BP 500-550 (red/green)*

BP500-550; SP485 (green/blue)

BP455-500; 520-560 (CFP/YFP)

* this is the one that is currently installed; I believe we can only have one set installed at a time (?)

Analysis tools

Multiple Time Series for Zen

Physiology for Zen

FRET for Zen

FRAP for Zen

Objectives

5x air (0.16)

20x water (1.0); 75 mm

40x water (1.1)

*objectives from 510 can also be used, with available adaptors

other

GaAsP-NDD detector

X-Y Motorized stage